RAM KRISHNA DHARMARTH FOUNDATION VISHWAVIDYALAYA,

BHOPAL

CURRICULUM

FOR

DIPLOMA IN ELECTRICAL ENGINEERING

(THIRD SEMESTER)

Implemented from session 2014-15

Under semester system

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |  |
| --- | --- | --- |
| NAME OF COURSE: BASIC | SUBJECT CODE:321 |  |

ELECTRICAL ENGINEERING & MATERIALS

Lectures: 4 Hrs. per week

Practical: 2 Hrs. per week

SCHEME OF STUDIES

| S.No. | Topics | Theory Hrs. | Practical Hrs. | Total |
| --- | --- | --- | --- | --- |
| 1. | D.C. Circuits | 15 | 10 | 25 |
| 2. | A.C. Fundamentals | 15 | 10 | 25 |
| 3. | Magnetic Effects of Electric current | 10 | - | 10 |
| 4. | Heating Effects of Electric current Chemical Effects of Electric current | 04 | - | 04 |
|  |  | 04 | 04 | 08 |
| 5. | Electrical Engineering Materials | 12 | 06 | 18 |
|  |  | 60 | 30 | 90 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD |  |  |
| --- | --- | --- |
| NAME OF COURSE: BASIC | SUBJECT CODE:321 |  |

ELECTRICAL ENGINEERING & MATERIALS

Lectures: 4 Hrs. per week

Practical: 2 Hrs. per week

|  | COURSE CONTENTS |  |  |
| --- | --- | --- | --- |
| S.No. | COURSE CONTENTS |  |  |
| 1. | D.C. Circuits - |  | 15 |
|  | Concept of charge, current, voltage, EMF, resistance, resistivity. Ohm's |  |  |
|  | law, KCL, KVL. Series and parallel combination of resistances, star-delta |  |  |
|  | connection, star to delta and delta to star transformation. |  |  |
| 2. | A.C. Fundamentals - |  | 15 |
|  | Concept of inductance, capacitance, reactance, impedance, admittance, |  |  |
|  | phasor diagram of pure resistive, inductive and capacitive circuit. |  |  |
|  | Difference between AC and DC quantities, sinusoidal waveform, |  |  |
|  | frequency, time period. Instantaneous, maximum, average and RMS value, |  |  |
|  | form factor. |  |  |
| 3. | Magnetic effect of electric current - |  | 10 |
|  | Concept of lines of force, flux, MMF, reluctance, permeability, magnetic |  |  |
|  | flux density, magnetic field intensity. Analogy of electric and magnetic |  |  |
|  | circuit, units. Faraday's laws of electromagnetic induction, self and mutual |  |  |
|  | induction. Lenz's laws, Fleming's left and right hand rule. |  |  |
| 4. | Heating effect of electric current - |  | 8 |
|  | Chemical effect of electric current, Faradays laws of electrolysis. Primary and secondary cells. |  |  |
| 5. | Electrical Engineering materials - |  | 12 |
|  | Definition of conductors, insulators and semiconductors. Intrinsic and |  |  |
|  | extrinsic semi conductor materials. Properties and applications of |  |  |
|  | conducting, semi-conducting and insulating materials, classification of |  |  |
|  | insulating materials on the basis of temperature. B-H curve, soft and hard |  |  |
|  | magnetic materials. Different magnetic materials, properties | and |  |
|  | applications. |  |  |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD |  |
| --- | --- |
| NAME OF COURSE: BASIC | SUBJECT CODE:321 |

ELECTRICAL ENGINEERING & MATERIALS

Lectures: 4 Hrs. per week

Practical: 2 Hrs. per week

LIST OF EXPERIMENTS

| S. | Name of Experiment | Hours |
| --- | --- | --- |
| No. |  | of |
|  |  | Study |
| 1 | Study of different types of meters/indicators, Ammeter, voltmeter, |  |
|  | wattmeter etc. |  |
| 2 | Measurement of current and voltage in single phase and three phase |  |
|  | circuit series and parallel circuit. |  |
| 3 | Measurement of current, voltage and power in single phase circuit. |  |
| 4 | Study of different types of loads i.e. resistive, inductive and capacitive |  |
|  | load. |  |
| 5 | Study of multimeter. |  |
| 6 | Verification of ohms law. |  |
| 7 | Study of different types of conducting, insulating, and magnetic materials. |  |
| 8 | Study of different types of primary and secondary cells and batteries. |  |
|  | Total | 30 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |  |
| --- | --- | --- |
| NAME OF COURSE: BASIC | SUBJECT CODE:321 |  |

ELECTRICAL ENGINEERING & MATERIALS

Lectures: 4 Hrs. per week

Practical: 2 Hrs. per week

REFERENCES

- Basic Electrical Engineering By NagrathKathari

- Electrical Engineering Materials By TTTI Madras.

- Basic Electrical Engineering By Jain & Jain

- Basic Electrical Engineering By V.K. Mehta

- ारंभकवैयुतअभयांकByएम.एफ.कुरैशी,दपककाशन

- वयुतसामीएवंपरपथByएम.के.डयोडया,म. .हदथअकादमी

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL | SUBJECT CODE:322 |
| CIRCUITS |  |
| Lectures: 4 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

SCHEME OF STUDIES

| S.No. | Topics | Theory Hrs. | Pract.Hrs. | Total |
| --- | --- | --- | --- | --- |
| 1. | Circuit analysis | 15 | 06 | 21 |
| 2. | Network Theorems | 15 | 08 | 23 |
| 3. | Single Phase A.C. Circuits | 10 | 08 | 18 |
| 4. | Polyphase circuits | 15 | 06 | 21 |
| 5. | Transients | 05 | 02 | 07 |
|  | Total | 60 | 30 | 90 |

RKDF UNIVERSITY, BHOPAL

| DIPLOMA IN ELECTRICAL ENGINEERING |  |
| --- | --- |
| SEMESTER: THIRD |  |
| NAME OF COURSE: ELECTRICAL | SUBJECT CODE:322 |
| CIRCUITS |  |
| Lectures: 4 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

COURSE CONTENTS

| S.No. | COURSE CONTENTS | Hours |
| --- | --- | --- |
|  |  | of |
|  |  | Study |
| 1. | CIRCUIT ANALYSIS | 15 |
|  | Active and passive elements, ideal current source and voltage source. |  |
|  | Unilateral and bilateral elements. |  |
|  | Number of loops, nodes, branches of a network. Analysis of networks by |  |
|  | "Mesh" and "Node" |  |
| 2. | NETWORK THEOREMS | 15 |
|  | Maxwell’s loop theorem, Nodal analysis, Superposition, Thevenin's, Nortons' |  |
|  | and maximum power theorems with numerical problems. |  |
| 3 | SINGLE PHASE A.C. CIRCUITS | 10 |
|  | Representation of A.C. quantity by phasor methods, rectangular and polar |  |
|  | co-ordinates. RLC series and parallel combinations. |  |
|  | Impedance, power in single phase circuits. Concept of power factor, |  |
|  | conductance, admittance and susceptance. Series and parallel circuits, |  |
|  | resonance in series circuit. |  |
| 4. | POLYPHASE CIRCUITS | 15 |
|  | Concept of poly phase A.C. circuits, advantages over single phase. |  |
|  | Generation of three phase voltage system. Three phase circuits, phase |  |
|  | sequence, vector and wave diagrams. Star and delta connections, phase and |  |
|  | line values of current and voltage, power in three phase circuits. Balanced |  |
|  | and unbalanced systems |  |
| 5. | TRANSIENTS | 5 |
|  | Concept of transient, variation of current when connected to D.C. or A.C. |  |
|  | series circuit (R.L. combination and R.C. combination). Time constant. |  |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD |  | SCHEME: Jul.14 |  |
| --- | --- | --- | --- |
| NAME OF COURSE: ELECTRICAL |  | SUBJECT CODE:322 |  |
|  | CIRCUITS |  |  |
| Lectures: 4 Hrs. per week |  |  |  |
| Practical: 2 Hrs. per week |  |  |  |
|  | LIST OF EXPERIMENTS |  |  |
| S. No. | Name of Experiment |  | Hours |
| 1 | Verification of Superposition theorem |  |  |
| 2 | Verification of Norton's and Thevenin's theorem |  |  |
| 3 | Verification of Maximum power transfer theorem |  |  |
| 4 | Performance of R-L-C- series circuit |  |  |
| 5 | Performance of R-L-C- parallel circuit |  |  |
| 6 | Study of electrical resonance in series circuit |  |  |
| 7 | Verification of relation between line and phase voltage and current in |  |  |
|  | 3-phase circuit |  |  |
| 8 | Study of transients |  |  |
|  |  | Total | 30 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL | SUBJECT CODE:323 |
| MACHINES-I |  |

Lectures: 5 Hrs. per week

Practical: 2 Hrs. per week

SCHEME OF STUDIES

| S.No. | Topics | Theory Hrs. | Practical Hrs. | Total |
| --- | --- | --- | --- | --- |
| 1. | Energy Conversion Principle | 04 | - | 04 |
| 2. | DC Generator | 20 | 08 | 28 |
| 3. | DC Motors | 17 | 08 | 25 |
| 4. | Single Phase transformers | 24 | 12 | 36 |
| 5. | Three phase transformers | 10 | 02 | 12 |
|  |  | 75 | 30 | 105 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL | SUBJECT CODE:323 |
| MACHINES-I |  |

Lectures: 5 Hrs. per week

Practical: 2 Hrs. per week

COURSE CONTENTS

| S.No. | COURSE CONTENTS | Hours |
| --- | --- | --- |
|  |  | of |
|  |  | Study |
| 1. | Energy Conversion Principle - | 4 |
|  | Law of conservation of energy, electromechanical energy conversion |  |
|  | classification of machines. |  |
| 2. | D. C. Generator - | 20 |
|  | Principle, construction, armature winding, types of winding, EMF equation, |  |
|  | armature reaction and commutation, interpoles and compensating winding. |  |
|  | Types of generators, characteristics and applications, losses and efficiency. |  |
|  | Simple numericals. |  |
| 3. | D. C. Motors - | 17 |
|  | Principle, production of back EMF, torque equation. Classification, |  |
|  | characteristics of D. C. motors, starters, speed control, losses and efficiency, |  |
|  | applications of motors. Brake test, Swinburn test. Simple numericals. |  |
| 4. | Single phase transformers - | 24 |
|  | Principle, construction, classification. EMF equation, turns ratio, name plate |  |
|  | rating, phasor diagram, no load and on load equivalent circuit. Voltage |  |
|  | regulation, polarity ratio, open and short circuit tests, losses and efficiency, |  |
|  | condition of maximum efficiency. All day efficiency and its numerical. Auto |  |
|  | transformer. Parallel operation of single phase transformer. |  |
| 5. | Three phase transformer - | 10 |
|  | Connections, groups, Scott and open delta connection. Comparison of three |  |
|  | phase transformer with bank of three single phase transformers. Parallel |  |
|  | operation. |  |

RKDF UNIVERSITY, BHOPAL

|  |  | DIPLOMA IN ELECTRICAL ENGINEERING |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | SEMESTER: THIRD |  | SCHEME: Jul.14 |  |  |  |
|  | NAME OF COURSE: ELECTRICAL |  | SUBJECT CODE:323 |  |  |  |
|  |  | MACHINES-I |  |  |  |  |
| Lectures: 5 Hrs. per week |  |  |  |  |  |  |
| Practical: 2 Hrs. per week |  |  |  |  |  |  |
|  |  | LIST OF EXPERIMENTS |  |  |  |  |
| S. |  | Name of Experiment |  | Hours |  |  |
| No. |  |  |  |  |  |  |
| 1 |  | Study of D. C. Machines (Parts) |  |  |  |  |
| 2 |  | Speed control of D. C. Motor (armature and field control method) |  |  |  |  |
| 3 |  | To perform Swinburn test of DC Motor. |  |  |  |  |
| 4 |  | Study of transformer (Parts) (single and three phase) |  |  |  |  |
| 5 |  | To perform polarity test of single phase transformer. |  |  |  |  |
| 6 |  | To perform ratio test of single phase transformer. |  |  |  |  |
| 7 |  | To perform open circuit test of single phase transformer. |  |  |  |  |
| 8 |  | To perform short circuit test of single phase transformer. |  |  |  |  |
| 9 |  | Parallel operation of single phase transformer. |  |  |  |  |
|  |  |  | Total | 30 |  |  |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL | SUBJECT CODE:323 |
| MACHINES-I |  |
| Lectures: 5 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

REFERENCES

- Electrical Technology Vol. II by B. L. TharejaKhanna Publisher

2.	Electrical Machines by Bhattacharya,	T.T.T.I.

- Electrical Machines by Nagrath& Kothari, PHI Publication

- Electrical Machines Vol. I & II by P.S. Bhimbra, Khanna publishers

- वयुतमशीनएम.के. डयोडयाहदंथअकादमी

6.  वैयुतमशीनएच.एस.रायदपककाशन

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL AND | SUBJECT CODE:324 |
| ELECTRONICS MEASUREMENTS AND |  |
| MEASURING INSTRUMENTS |  |

Lectures: 6 Hrs. per week

Practical: 2 Hrs. per week

SCHEME OF STUDIES

| S.NO. | TOPIC | TH | PR | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Classification of measuring instruments | 10 | 02 | 12 |
| 2 | Digital instruments, Construction and operation | 20 | 02 | 22 |
| 3 | Wattmeter and Energy meters | 10 | 04 | 14 |
| 4 | Measurement of resistance A. C. Bridges | 08 | 04 | 12 |
|  |  | 08 | 04 | 12 |
| 5 | Cathode Ray Oscilloscope Electronic Instruments | 04 | 02 | 06 |
|  |  | 08 | 02 | 10 |
|  | TOTAL | 68 | 20 | 88 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL AND | PAPER CODE:324 |
| ELECTRONICS MEASUREMENTS AND |  |
| MEASURING INSTRUMENTS |  |

Lectures: 6 Hrs. per week

Practical: 2 Hrs. per week

COURSE CONTENTS

| S.No. | COURSE CONTENTS | Hours of |
| --- | --- | --- |
|  |  | Study |
| 1 | Classification of measuring instruments, Indicating, recording and | 10 |
|  | integrating types of meters. Errors and types of errors, accuracy, |  |
|  | precision and sensitivity,. |  |
| 2 | Electrical measuring instruments - Construction, operation. Deflecting, controlling and damping forces, supporting systems, moving coil, electrodynamometer, moving iron and induction type instruments, simple numerical. Hot wire type instruments, vibration Digital instruments – Digital voltmeters- types, specifications. Digital multimeters. Counter / timers. Universal indicators for voltage, current, frequency, power, power factor, temperature, humidity etc. Digital tachometers (Contact & non Contact type). Digital controllers. and unbalanced load condition, 3 phase wattmeter. | 20 |
| 3 | Measurement of resistance – | 8 |
|  | Classification of resistance, measurement of low, medium, and high |  |
|  | resistance. Kelvin’s double bridge, wheat–stone bridge, Ammeter, |  |
|  | voltmeter method and ohmmeter, multimeter, megger. Importance |  |
|  | of earth resistance, Earth tester. |  |
| 4 | A. C. Bridges – | 8 |
|  | Measurement of inductance and capacitance by A.C. bridges. |  |
|  | Maxwell, Anderson, Hays, Desauty and Wien’s bridge. (no phasor |  |
|  | diagram) |  |

| 5 | Electronic Instruments |  | 8 |
| --- | --- | --- | --- |
|  | Transistor volt meter, FETVM, balanced bridge, specification of |  |
|  | electronic voltmeter. Single and three phase electronic energy |  |
|  | meters, mili-voltmeter and micro-volt meters. CRO. |  |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: ELECTRICAL AND | SUBJECT CODE:324 |
| ELECTRONICS MEASUREMENTS AND |  |
| MEASURING INSTRUMENTS |  |

Lectures: 6 Hrs. per week

Practical: 2 Hrs. per week

LIST OF EXPERIMENTS

| S. | Name of Experiment | Hours |
| --- | --- | --- |
| No. |  |  |
| 1 | Measurement of low resistance by Kelvinn Double bridge. |  |
| 2 | Measurement of medium resistance by wheat stone bridge. |  |
| 3 | Measurement of insulation resistance by Megger. |  |
| 4 | Measurement of inductance by Maxwell's bridge. |  |
| 5 | Calibration of Voltmeter, Ammeter, Wattmeter, Energy meter. |  |
| 6 | Measurement of P.F. by ammeter, voltmeter and wattmeter method. |  |
| 7 | Plot B.H. curve by method of reversal using B.G. |  |
| 8 | Use of CRO for measurement of voltage, current, phase and frequency |  |
|  | etc. |  |
| 9 | Measurement of 3-phase power by two wattmeter method. |  |
| 10 | Study and use of digital instruments, e.g. digital multi meter, frequency |  |
|  | meter, electronic timers and counters. |  |
| 11 | Study and use of various electrical instruments e.g. phase sequence |  |
|  | meter, wave meter. M.D. meter, tong tester. |  |
| 12 | Study and use of C.T. & P.T. for extension of instrument range. |  |
| 13 | Use of multi meter in a circuit for measurement of voltage, current and |  |
|  | resistance. |  |
|  | Total | 30 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: BASIC ELECTRONICS | SUBJECT CODE:324 |
| Lectures: 5 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

SCHEME OF STUDIES

| S. NO. | Topic | Theory (Hrs) | Practical(hrs) | Total |
| --- | --- | --- | --- | --- |
| 1. | Semiconductor devices | 12 | 08 | 20 |
| 2. | Rectifiers Regulated power supply | 10 | 04 | 14 |
|  |  | 08 | 04 | 12 |
| 3. | Non-Sinusoidal Generator | 04 | 02 | 06 |
| 4. | Integrated circuits | 06 | 04 | 10 |
| 5. | Digital Techniques | 08 | 02 | 10 |
|  |  | 48 | 24 | 72 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: BASIC ELECTRONICS | SUBJECT CODE:325 |
| Lectures: 5 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

COURSE CONTENTS

| S.No. |  |  | COURSE CONTENTS |  |  |  | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Semiconductor Devices – |  |  |  |  |  |  |
|  | (a) Concept of electronic emission – Different methods of electronic |  |  |  |  |  | 12 |
|  | emission and their applications. |  |  |  |  |  |  |
|  | (b) Diodes - Formation of PN junction, forward biasing and revere |  |  |  |  |  |  |
|  | biasing | of | PN | junction, construction, |  | characteristics and |  |
|  | application of different types of diodes, Zener diode . |  |  |  |  |  |  |
|  | (c) Transistor - PNP/ NPN Junction Transistors, different |  |  |  |  |  |  |
|  | configurations: CB, CE, CC. Transistors Characteristics, and |  |  |  |  |  |  |
|  | applications. |  |  |  |  |  |  |
|  | (d) Special Semiconductor devices – Construction, symbol and |  |  |  |  |  |  |
|  | application of |  |  |  |  |  |  |
|  | Tunnel diode, photo diode, varactor, FET, MOSFET, UJT. |  |  |  |  |  |  |
| 2. | Rectifiers – Single phase, half wave, full wave and bridge types of rectifiers. calculation of output voltage, average and RMS values, ripple factor and rectification efficiency. Filter, and types of filters. Regulated Power Supply - Differencebetween linear and switch mode power supply, regulated power supply and its limitations, series and shunt powersupply using transistors, SMPS ( Block diagram only ), IC regulated power supply (78XX and 79XX series). |  |  |  |  |  | 10 |

| 3 | Non-sinusoidal Generator - Astable, monostable and bitable |  | 4 |
| --- | --- | --- | --- |
|  | multivariate | circuits, principal of working and output waveforms. |  |
| 4. | Integrated circuits - Concepts of IC’s classification, types and their |  | 6 |
|  | advantages, applications of common IC’s such as 741, 555, 810 and |  |  |
|  | digital IC’s. |  |  |
| 5. | Digital Techniques - Number system, binary, decimal number system. |  | 8 |
|  | Addition, subtraction, multiplication & division of binary numbers. |  |  |
|  | Logic gates- their symbols, truth table and applications. |  |  |

RKDF UNIVERSITY, BHOPAL

|  |  | DIPLOMA IN ELECTRICAL ENGINEERING |  |  |
| --- | --- | --- | --- | --- |
| SEMESTER: THIRD |  |  | SCHEME: Jul.14 |  |
| NAME OF COURSE: BASIC ELECTRONICS |  |  | SUBJECT CODE:325 |  |
|  | Lectures: 5 Hrs. per week |  |  |  |
|  | Practical: 2 Hrs. per week |  |  |  |
|  |  | LIST OF EXPERIMENTS |  |  |
|  | S. No. | Name of Experiment |  | Hours |
|  | 1 | Study of C.R.O. &multimeter |  |  |
|  | 2 | Study of electrical and electronic components |  |  |
|  | 3 | Colour coding of Resistors |  |  |
|  | 4 | Testing of Diode and Transistor |  |  |
|  | 5 | Study of half wave rectifier, full wave rectifier, bridge rectifier with |  |  |
|  |  | and without filter |  |  |
|  | 6 | Study of Zener regulated power supply |  |  |
|  | 7 | Study of IC Regulated power supply (78XXand 79XX) |  |  |
|  | 8 | Study of transistor characteristics |  |  |
|  | 9 | To plot the characteristics of diode |  |  |
|  | 10 | To plot the characteristics of Zener diode |  |  |
|  | 11 | Study of transistor amplifier |  |  |
|  | 12 | Study of oscillator |  |  |
|  | 13 | Study of astable and monostablemultivibrators using transistors and |  |  |
|  |  | IC 555 |  |  |
|  | 14 | Study of inverting and non-inverting | amplifiers using IC 741 and |  |
|  |  | calculation of its gain |  |  |
|  | 15 | Study of A.M. modulation |  |  |
|  |  |  | Total | 30 |

RKDF UNIVERSITY, BHOPAL

DIPLOMA IN ELECTRICAL ENGINEERING

| SEMESTER: THIRD | SCHEME: Jul.14 |
| --- | --- |
| NAME OF COURSE: BASIC ELECTRONICS | PAPER CODE:325 |
| Lectures: 5 Hrs. per week |  |
| Practical: 2 Hrs. per week |  |

REFERENCES

- Basic Electonics& Linear Circits- : By Bhargawa , T.T.T.I. Chandigaarh .

- Basic Electonics  -: By V.K. Mehta

- Electonics Principal - : By mahta.

| 4. | Digital Elactronics -: By Mahino& Leach . |
| --- | --- |
| 5. | Elactronics Devices &Circits -: By G.K. Mithal |